## Slide 1: WP10 : KPI assessment (D10.4)
Final Demo meeting, January 26th 2023
E. Breuil & B. Dumercq (ORANO) & An Bielen (SCK CEN)
E. Fanchini & A Lovene (CAEN) & L. Lepore (ENEA)
B. Perrot (CEA)
Notes: 20’

## Slide 2: KPI assessment
The KPI assessment is one task of WP10 (deliverable 10.4) to be done at the end of the project.
The purpose of the MICADO project :
The MICADO project aims to define an innovative methodology for the characterization and long term monitoring of nuclear waste packages with a toolbox (RCMS DigiWaste platform) of measurements devices, simulation, software and analysis tools.
The RCMS DigiWaste platform is the main output of MICADO.
The nuclear wastes targeted by the MICADO project are LLW and ILW categories and legacy wastes, in particular those close to the limits which conditions the selection of the disposal facility (surface or geological).

## Slide 3: KPI assessment
METHODOLOGY
MICADO has set up 4 global objectives to improve waste characterization procedures :
OBJ 1 Operational effectiveness
OBJ 2 Financial Optimization
OBJ 3 Social and environmental responsibilities
OBJ 4 Economical impact
KPIs were defined and based on :
the KPIs mentioned in the Grant Agreement Part B with regard to the global objectives. The GA specified also the target at the end of the project and the measure to be used to assess each KPI.
and also the specifications issued from the system requirements document (D2.1) written at the beginning of the project, see in particular the specified performances of the different nuclear characterization technologies.

## Slide 4: KPI assessment
For each KPI the achieved results at the end of MICADO will be assessed by the MICADO partners and also by external experts/end users. The justifications of the assessments will have to be provided :
References of documents, MICADO deliverables,
Are the assessments based on a design study, an experimental test or an expert opinion.
The last results achieved during the final demo will be of course taken into account.
A quantification rating (0 to 5) is proposed to compare the achieved results with the target values (5/5 means that the achieved result is fully consistent with the target value).

## Slide 5: KPI assessment
Next steps :
It is proposed to share the attached excel file in order to collect all the information.
The final KPI assessment will be raised by Orano leader of this task. The deliverable will be issued at the end of the project (February 2023).